## Sheet2
_id | aActivePower | aCurrent | aReactivePower | aVoltage | bActivePower | bCurrent | bReactivePower | bVoltage | cActivePower | cCurrent | cReactivePower | createTime | cVoltage | gatewayDeviceNo | leakageCurrent | slaveDeviceAddress | switchStatus | temperature | totalActivePower | totalNegativeActiveEnergy | totalPositiveActiveEnergy | totalReactiveEnergy | totalReactivePower | CurrentUnbalanceFactor | VoltageUnbalanceFactor | InsulationAging | LeakageCurrentIncreasesRate | TemperatureChangeRate
表id | A相有功功率 | A相电流 | A相无功功率 | A相电压 | B相有功功率 | B相电流 | B相无功功率 | B相电压 | C相有功功率 | C相电流 | C相无功功率 | 数据创建时间 | C相电压 | 网关设备编码 客户端id | 漏电流 | 从机设备地址 | 合闸状态 | 温度 | 总无功功率 | 反向有功总电量 | 正向有功总电量 | 无功总电量 | 总有功功率 | 三相电流不平衡度 | 三相电压不平衡度 | 绝缘老化指数 | 漏电流增长趋势 | 温度变化率
69e731585f9a5451643674c0 | 0.379999995231628 | 1.85 | 0.100000001490116 | 223.1 | 0.930000007152557 | 4.29 | 0.140000000596046 | 222.9 | 1.36000001430511 | 7.02 | 0.180000007152557 | 2026-04-21 16:12 | 223.2 | 00501525080600164586 | 0 | 5 | 1 | 38 | 2.67000007629395 | 0 | 56.7999992370605 | 0 | 0.419999986886978 | 117.8571 | 0.13449 | 0 | 0 | 0
69e7320c5f9a545164370595 | 0.419999986886978 | 2.05 | 0.109999999403954 | 223.7 | 1.01999998092651 | 4.68 | 0.140000000596046 | 223.5 | 1.38999998569489 | 7.2 | 0.150000005960464 | 2026-04-21 16:15 | 223.7 | 00501525080600164586 | 0 | 5 | 1 | 38 | 2.82999992370605 | 0 | 56.939998626709 | 0 | 0.419999986886978 | 110.9117 | 0.089431 | 0 | 0 | 0
69e732c05f9a5451643795ac | 0.419999986886978 | 2.08 | 0.109999999403954 | 223.2 | 1.01999998092651 | 4.69 | 0.140000000596046 | 223 | 1.39999997615814 | 7.25 | 0.180000007152557 | 2026-04-21 16:18 | 223.3 | 00501525080600164586 | 0 | 5 | 1 | 38 | 2.83999991416931 | 0 | 57.0799980163574 | 0 | 0.449999988079071 | 110.6277 | 0.13443 | 0 | 0 | 0